## Slide 2: Accelerated Engineering using templates and provisioning
Kevin Mamajek
Sales Engineer – IoT software
TRIDIUM, Inc.

## Slide 3: Objectives
Define a what a template
Prepare for a template
Use Workbench template tools
Creating a template
Look into a template file
Demo: Creating, Deploying, Updating a template
Demo: Create a device template
Demo: Deploying a device template, updating it with sub-templates
Bulk deploying templates
Demo: Bulk deploying with an excel file
Dependency: Niagara 4.6
Hold Questions for the end
You will be able to:

## Slide 4: What is a template?
A deployable package of Niagara objects
Components are contained in a file with the extension of .ntpl /
  zip in disguise
Can be grouped into modules for easy distribution
Deployed configurations extend the installation process used for a single component, at deployment you make the finishing touches.

## Slide 5: The Setup
Plan ahead / Pre-work
Utilize the Tag Dictionary
Layout the points and tag them
Build and test all screens together
Build Master templates first
  Then remove items you may want to be subs
Test, Test, Test, and Deploy

## Slide 6: Pre-work
Planning for what the template will do and how it will do it

## Slide 7: What are you going to template: NRIO 16

## Slide 8: The Process
Points
Tags
Relations
Logic / Screens

## Slide 9: Point layout
Layout Points in a meaningful manner
Use notes to remind you where the connections come from

## Slide 10: Tagging
Tags
ro1 – ro4
DigitalOUT
Tags
ao1 – ao4
AnalogOUT
VoltsDC
Tags
ui1 – ui8
UniversalIN
Boolean
Resistive
Thermistor
Binary
VoltsDC
Boolean
Resistive
Thermistor
Binary
VoltsDC

## Slide 11: Consider Tagging alarms
Tags
IOR16
IOR34
Implied Tags
Alarm

## Slide 12: Tagging Views
Tags
View
Px Page
io16LEDV1_1
VoltsUpDown
DigitalONoff
FailSafe
Diagnostic
IOAlarms
SetVoltOutput
Px Page
LEDDashboard
Tags
View
Dashboard

## Slide 13: Setting Relations back to device
Relation
io16LEDV1_1
Px Page
VoltsUpDown
DigitalONoff
FailSafe
Diagnostic
IOAlarms
SetVoltOutput
LEDDashboard

## Slide 14: Hierarchy

## Slide 15: Hierarchy

## Slide 16: Screen layout
Layout all screens
Diagnostic Screen

## Slide 17: Screen layout
Layout all screens

## Slide 18: Screen layout
Failsafe Screen
Layout all screens

## Slide 19: Dashboard layout
Layout all screens

## Slide 20: Default Settings
Set any defaults

## Slide 21: Logic layout
Logic

## Slide 22: Template tools
Services, Pallet, Sidebar, Right-Click Make, DevTemplate mode

## Slide 23: Template Tools
Palette
Software Manager
Side Bar Template

## Slide 24: Template Tools
Read-only versions

## Slide 25: Template types
Station
  The entire station is templated.
  During commissioning of a new station, you can choose the template to apply
Device
  A device template, during commissioning of a new device you can apply a template.
Component
  Any component, that you can then drag-and-drop to apply

## Slide 26: Station Template vs Templates
Right-Click
Station ONLY
Individual Templates
Anything under the config space
Only the Config top level
Right-Click

## Slide 27: Device vs Component Templates
Right-Click
Device Template
Component Template
Component
Device top level
Right-Click

## Slide 28: Applying station templates

## Slide 29: Device template mode
DevTemplate Mode

## Slide 30: Device template mode

## Slide 31: Station template service

## Slide 32: Creating templates
SetVoltOutput template that will eventually be used as a sub-template

## Slide 33: SetVoltOutput Template
Px View
Internal Points
Tags
View
Relation
io16LEDV1_1

## Slide 34: SetVoltOutput Template
Internal Logic
External Tagged Points
Tags
ao1 – ao4
AnalogOUT
VoltsDC

## Slide 35: SetVoltOutput Template
Right-Click

## Slide 36
Basic template information
State – Draft/Ready
  Version control for deploying templates

## Slide 37
All Components that are included in the template, including the template information (templateConfig)

## Slide 38
Configuration TAB allows the template to prompt for these values during the deployment process

## Slide 39
Relations TAB allows the template to prompt for these values during the deployment process

## Slide 40
This tab allows for you to create hints and searches to help the user connect internal points within the template to external points at deployment
We will look at this in more detail on the next slide

## Slide 41: The Template IO Tab (IO Tags)
Link any IO points that reference any External points
  userTip
    “Select the in slot 14 of the analog out 1 (ao1) point
  targetSlotHint
    in14
  bindHints
    io:IOR16 and io:AnalogOUT and n:name='ao1'
Tags CAN HELP
Tags
ao1
AnalogOUT

## Slide 42
The graphics tab includes all the PX pages within the template

## Slide 43: Saving Template (Draft / Ready)

## Slide 44: SetVoltOutput Template
Components
External I/O
On Deployment Assignment

## Slide 45: Deep dive: Template files
For when you really need to know

## Slide 46: Directory List

## Slide 47: SetVoltOutput Template file contents
Users > Me > Niagara4.6 > templates

## Slide 48: SetVoltOutput Template file contents

## Slide 49: SetVoltOutput Template file contents

## Slide 50: SetVoltOutput Template file contents

## Slide 51: SetVoltOutput Template file contents

## Slide 52: Demo

## Slide 53
Creating The SetVoltOutput Template
.6
demonstration

## Slide 54
Deploying SetVoltOutput with drag-and-drop
Template Service
Deployment files
.6
demonstration

## Slide 55
Creating a device template
.6
demonstration

## Slide 56
Deploying Basic then adding
2 Sub-templates
Updating deployment
.6
demonstration

## Slide 57
Deploying a device template

## Slide 58: But wait, there’s more
If you act now, we will include bulk for FREE

## Slide 59: Deep dive: Bulk Deploying Templates
Now the fun begins

## Slide 60: Bulk deploy

## Slide 61: Bulk deploy

## Slide 62: Template Configuration excel file

## Slide 63: Values of the Config Tab for each device

## Slide 64: Bulk Deploy from Excel
From the TemplateService

## Slide 65: Select template Config file

## Slide 66: Select template Config file

## Slide 67
Export Config
Update Excel Sheet
Bulk deploy from Excel
.6
demonstration

## Slide 68: What’s Next

## Slide 69: What’s next
Templates and provisioning
Determining if a template is being used as a sub-template
The value proposition: templates / provisioning / system db

## Slide 70: Resources
Workbench Help
This Presentation*
*Niagara Summit presentations will be shared with attendees who complete the post-event survey.

## Slide 71: My Tags
Tag Name | Points
IOR16 or IOR34 | 
DigitalOUT | Ro1 – ro4
AnalogOUT | Ao1 – a05
UniversalIN | Ui1 – ui10
Thermistor | Ui is thermistor
Resistive | Ui is Resistive
VoltsDC | UI is VoltsDC
Tag Name | Points
milliAmps | UI is milliAmps
Binary | UI is Binary
Boolean | Ui is Boolean
Ioname | Tag name : String
View | PX View
Alarm | Alarm
Dashboard | PX View
Tag Dictionary = IOR, Namespace = io